## Slide 1: Crossing Blackout Valley Planning for 2030-2040
Paul J. Hibbard
Raab Roundtable
December 2021

## Slide 2: Why Discuss Hydrogen and Long-Duration Storage?
The Setting:
    Focus on electrification
    Decreasing GHG emissions economy-wide
    Increasing electricity demand
    Continued generation from: hydro, existing renewables, nuclear
    Some short-duration storage operable in some hours
    Increasing renewable generation, which effectively offsets natural gas generation on a one-to-one basis as it comes on line
The Result:
    Blackout Valley: residual energy demand after all of the above

## Slide 3: The Residual
2025
2030
2035
Energy needed to preserve power system reliability
    The area under the curve
Fully determined by the quantity of GWh generated by new renewable resources
Next 10-15 years:
      All or mostly natural gas-fired generation
Today’s topic: years 10-20
      Natural gas?
      Hydrogen (turbines, fuel cells)?
      Long-duration storage?
      Other?
Power system GHGs determined by area under the curve (resource mix, efficiency of remaining gas-fired generators)

## Slide 4: Blackout Valley
Analysis Group studies of rapid expansion of variable resources in New England and New York
Extended periods of low solar/wind output, when resources are insufficient to meet reliability needs
Ramping requirements on the order of 15-20 GW over just a few hours in each system
New York
New England
New England values are net of baseload hydro, nuclear

## Slide 5: Why Hydrogen?
Being Honest? It Looks Like a Fossil Fuel
Energy density: extreme energy content per unit volume, exceeding fossil fuels
Ubiquity: H2O is everywhere, so are low/zero-carbon energy input sources (wind, sun, etc)
Storage: can be stored for multiple applications in a variety of settings
Transportability: energy density and phase flexibility provide for high transportability
Applications: can be used in transportation, buildings, industry, electricity generation
Infrastructure: can make use of existing pipeline infrastructure; uses similar fueling infrastructure as gasoline, diesel
Renewable utilization: effective use of “spilled” renewables; transportability allows for utilization of renewable electricity potential distant from load
The last “power mile:” can support reliable power system operations during periods of high loads and low variable power production
Cost?: Can it be a cost-effective GHG abatement option?
Source: Noah D. Meeks, Hydrogen & Integrated Electrolyzer Systems Panel, presentation to the Hydrogen Shot Summit,September 1, 2021,

## Slide 6: Paul J. Hibbard
Principal
Analysis Group, Inc.
phibbard@analysisgroup.com
617.425.8171