## Slide 1
Seeks to cut carbon NOW through systems change.

## Slide 2
2014 > An Act Relative to Natural Gas Leaks
2016 > An Act to Promote Energy Diversity
2018 > An Act to Advance Clean Energy
BACKGROUND

## Slide 3
Boston Gas 43% leakprone
Boston $4.4M/mile in 2020
40-year amortization
GWSA and Carbon Free Boston?!
Gas System Enhancement Plan (GSEP)
Utility reported pipe replacement plans for next 5 years

## Slide 4
RISKS
Source: E3, Gridworks 2020
GAS BANS

## Slide 5
The GeoMicroDistrict
OPPORTUNITY
Notes: A novel path to building electrification.

## Slide 6
The HEET Grid

## Slide 7
The capacity to meet energy demand through ‘shallow’ boreholes in the street only
FEASIBILITY (per street segment)

## Slide 8
Economies of scale
Load sharing
Load canceling
Thermal storage
INTERCONNECTION

## Slide 9
Courtesy of The GreyEdge Group©
SAFETY
Cuts GHG 90% by 2050
Equitable access
Keeps gas worker’s jobs
Resilient and reliable
Provides cooling
Flattens grid loads
Cheap energy storage
Colorado Mesa University
PEAK kW Monthly as Shared Geo Grows
2013 (800,000 ft2) – 2016 (1,200,000 ft2)
BENEFITS

## Slide 10
HEET licenses all materials for open sharing
and adapting under Creative Commons CC BY-AS 4.0
Gas Bans or Gas Plans?