## Slide 1
Planning and Building the Grid of the Future – Maine’s New Collaborative Process
Michael D. Stoddard, Efficiency Maine Trust
December 13, 2019

## Slide 2
The Efficiency Maine Trust
Mission -- To lower the cost and environmental impacts of energy in Maine by promoting energy efficiency and other distributed energy resources.
Independent, Quasi-State Agency
Managed by Board of Trustees
Oversight from the Maine PUC
Subject to the “All Cost-Effective” standard for funding electricity and natural gas programs
Responsible for managing funding from:
      Electric and natural gas utilities
      Regional Greenhouse Gas Initiative (RGGI)
      ISO New England (Forward Capacity Market)
      Grants, contracts, settlement funds

## Slide 3
2009 CMP installs 622,000 smart meters (effectively 100% of meters) using ARRA grant and ratepayer funds
2009 Legislature establishes Smart Grid Policy Act (35-A MRS §3143) to promote development of smarter grid and DERs
2011-16 Boothbay Pilot and consideration of Mid-Coast Pilot
2013 Legislature adopts Omnibus Energy Act clarifying requirement that Non-Wires Alternatives (NWA) must be analyzed by independent consultant before approving Transmission CPCNs
2013 GridSolar proposes Smart Grid Utility; PUC declines
2016-18 Two PUC dockets consider if independent NWA Coordinator is in the public interest, process for selection of coordinator and developing NWAs
      2018 PUC Commissioners reject Staff recommendation to establish independent NWA Coordinator, direct utilities to address NWAs through rates
2019 LD 1181 enacted to establish independent, NWA Coordinator and new process for planning and approval of investments for small T projects and D projects
Recent History of “Smart Grid” and Non-Wires Alternatives in ME

## Slide 4: NWA Pilot Areas Initially Identified in Maine: Boothbay Pilot: - 2 MW need - 30 MW radial circuit - rapid develop’t horizon

## Slide 5
Boothbay Pilot – NWA Resources Delivered
Source: GridSolar, “The GridSolar Pilot Project for Grid Reliability,” 2/8/2016

## Slide 6
Boothbay – Projected NWA Cost Savings
Chart: Annual Expenses for the Boothbay Pilot
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
NTA Payments | 708.77 | 224321 | 552913.77 | 1375768.3 | 1639465.3146 | 1217849.833 | 438654.4991 | 343375.7788 | 343347.2021 | 343318.7683 | 343290.4767 | 343262.3265 | 343234.3171 | 343206.4477
GridSolar Costs | 46904.18 | 103964.98 | 114175.19 | 144768.15 | 148939.9771 | 30646.5357 | 31529.9547 | 32438.9769 | 33374.3478 | 34336.8349 | 35327.228 | 36346.3401 | 37395.0079 | 38474.0928
Chart: Comparison of the Cumulative Costs of the Transmission and NTA Solutions for the Boothbay Pilot Region
Transmission Solution | 0 | 0 | 2285714.2857 | 4571428.5714 | 6857142.8571 | 9142857.1429 | 11428571.4286 | 13714285.7143 | 16000000 | 18285714.2857 | 20571428.5714 | 22857142.8571 | 25142857.1429 | 27428571.4286
NTA Solution | 47612.95 | 375898.93 | 1042987.89 | 2563524.34 | 4351929.6317 | 5600426.0004 | 6070610.4542 | 6446425.21 | 6823146.7599 | 7200802.3631 | 7579420.0677 | 7959028.7343 | 8339658.0593 | 8721338.5998
Source: GridSolar, “The GridSolar Pilot Project for Grid Reliability,” 2/8/2016

## Slide 7
LD 1181: An Act To Reduce Electricity Costs through NWAs
Developed by Efficiency Maine and Office of the Public Advocate, with input from utilities, environmental advocates, Industrial Energy Consumer’s Group (IECG)
Sponsored by Rep. Berry; Signed into law by Gov. Mills 6/14/2019
Establishes an independent NWA Coordinator (NWAC) operating under contract to the Office of the Public Advocate
    The RFP for Maine’s NWAC has been awarded to DNV GL

## Slide 8
LD 1181: An Act To Reduce Electricity Costs through NWAs
Directs the NWAC to collaborate with Efficiency Maine, utilities, and interested parties to:
  Review annual planning studies for small transmission project and distribution projects;
  Investigate and make recommendations regarding NWAs to proposed capital investments in the transmission and distribution system;
  Conduct benefit-cost analyses to evaluate the cost-effectiveness of NWAs and make recommendations regarding procurement of recommended NWAs; and
  Track and issue quarterly reports on NWA projects' progress.

## Slide 9
Preparing for NWAs -- Efficiency Maine DER Pilots
Residential DER
  ReVision Energy and Virtual Peaker control the fleet of DER to demonstrate value of load shifting across a variety of use cases
  B.Y.O. Device initiative (for HPWH; EVs; batteries; ASHP) that are fully programmable and subject to either autonomous control or control by central dispatch
Refrigerated Space as Storage
  Energy Solutions, Inc. and Viking Cold Solutions, Inc.
  Demonstrating peak load shifts using controls and phase change material in refrigerated commercial/industrial spaces
Transactive Energy (TE) Using Thermal Storage
  Isle au Haut Electric Power Company (IaHEPC) and Introspective Systems
  Installing controls for the edge-based management of heat pumps, relying on price signals, to move excess solar energy to evening and nighttime hours using efficient and inexpensive thermal storage

## Slide 10
Thank you!
CONTACT:
Michael Stoddard Executive Director Efficiency Maine Trust michael.stoddard@efficiencymaine.com
efficiencymaine.com

## Slide 11
Additional Reference:
Process and Roles for Maine’s New Non-Wires Alternative Law

## Slide 12
Planning Studies Must Be Filed Annually
Each IOU T&D in Maine must annually submit a planning study for small transmission projects and distribution projects for review by the NWAC
  Large transmission projects are evaluated and compared with NWAs through the traditional Certificate of Public Convenience and Necessity process
The IOUs must develop and use system planning models for the study, which must:
  Analyze system needs for the next 5 years
  Provide a schedule of proposed projects and associated costs
  Describe system capacity and load by substation and circuit, and
  Identify corresponding planned and anticipated growth-related investments

## Slide 13
NWA Investigation & Recommendations
The NWAC will investigate NWAs in coordination with Efficiency Maine
  Small T projects or D projects costing $500,000 or above
  Proposed wires solutions are excluded from review if needed:
    For redundant supply to a radial load
    For maintenance, asset condition or safety issues
    For stability or short circuit problems, or
    To be in service within 1 year
Utilities must provide data to NTAC and Efficiency Maine for the investigation
  Efficiency Maine shall use utility data to identify cost-effective NWAs behind-the-meter
  Investigation must deliver total projected costs and annual carrying costs of wires project and NWAs and benefit-cost analysis comparing wires project and NWAs
NWAC will develop and provide recommendations with a plan for procurement for NWAs

## Slide 14
Decisions on Small Transmission Projects and Distribution Projects
For small T projects and D projects, NWAC makes recommendations to utility regarding feasibility and economics of NWAs
Utility and NWAC must attempt good faith agreement to adopt NWAs that are most cost-effective:
  If NWA is recommended and agreement reached, utility contracts for the NWAs
  If not, utility shall petition PUC to resolve dispute
Dispute Resolution -- PUC will:
  Review utility planning study and recommendation of NWAC
  Give preference for NWAs if more cost-effective and address the reliability need

## Slide 15
Procurement of NWAs
The utility contracts for the NWA resources
  Behind-the-meter (BTM) NWAs – shall be delivered through procurement and programs administered by Efficiency Maine
  Grid-side NWAs
    For small T projects and D projects where the utility has voluntarily accepted the NWA recommendations, the utility decides how the NWA will be delivered
    Otherwise, the PUC select an entity (which may be the utility) to deliver the NWAs
Prudently incurred costs to deliver NWAs, including under contract to Efficiency Maine or a 3rd party, are recoverable in rates